## Sheet1
Functional Space | Material | Homo ID # | Amount | Previous Condition | CURRENT CONDITION | Previous Response | Current Response
BOILER ROOM | BOILER LAGGING | 1 |  | ABATED | ABATED | ABATED | ABATED
| BOILER BREECHING | 2 |  | ABATED | ABATED | ABATED | ABATED
| AIRCELL PIPE INSULATION | 4 |  | ABATED | ABATED | ABATED | ABATED
| GASKETS- BLACK |  |  | NO DAMAGE | NO DAMAGE | MONITOR/ CONTINUE WITH O&M | MONITOR/ CONTINUE WITH O&M
| RIB PACKING/ GASKETS- WHITE |  |  | NO DAMAGE | NO DAMAGE | MONITOR/ CONTINUE WITH O&M | MONITOR/ CONTINUE WITH O&M
| WELL WATER TANK- LAGGING FIRE DOOR | 3 | 32 FT2 | SEVERE- EXPOSED MAG COVERING WITH LOOSE DEBRIS PRESENT ON GROUND | SEVERE- EXPOSED MAG COVERING WITH LOOSE DEBRIS PRESENT ON GROUND | SAMPLE FOR ASBESTOS CONTENT. REMOVE AND CLEAN UP IF RESULTS ARE POSITIVE | SAMPLE FOR ASBESTOS CONTENT. REMOVE AND CLEAN UP IF RESULTS ARE POSITIVE
ENTERACE WAY NEAR BOILER ROOM | 12" LT. BLUE/ 12" DK. BLUE FLOOR TILE AND BLACK MASTIC/ VINAL SUB FLOOR |  |  | RETESTED 2024/ ALL NON ACM MATERIAL/TESTED JUNE 2021 ALL NAD | RETESTED 2024/ ALL NON ACM MATERIAL/TESTED JUNE 2021 ALL NAD | RETESTED 2024/ ALL NON ACM MATERIAL/TESTED JUNE 2021 ALL NAD | RETESTED 2024/ ALL NON ACM MATERIAL/TESTED JUNE 2021 ALL NAD
ENTIRE BUILDING | ALL OTHER SUSPECT MATERIAL HAVE BEEN ABATED OR CONFIRMED NEGATIVE IN SUMMER OF 2011